## Slide 1: Service guard Presentation
Yershki,Fabien,thibaut,francis
Securing service guard clusters

## Slide 2: Summary
Introduction of service guard
Problems identified
Actions to resolve problems
Load and deadlines of the project
Division of task between stakeholders

## Slide 3: Why do we use service guard ?
Applications running on servers
High availability
Load balancing

## Slide 4: Example

## Slide 5: Problems identified
Problem 1: Machine obsolescence (RedHat6 and RedHat7)
Problem 2: MDADM instability
Issue 3: Lack of package management
Issue 4: Installation of service guard is not automated
Issue 5: Lack of supervision on Service Guard
Issue 6: Loss of network interface

## Slide 6: Actions for problem resolution
Action 1: Migration of quorum on redhat8
Action 2: Migration of servers from MDADM to LVM
Action 3: Reboot script for better package management
Action 4: Automate the installation of Service Guard on ansible
Action 5: Testing compatibility of service guard 1260 on RedHat8

## Slide 7: Actions for problem resolution
Action 6: Set up ServiceGuard Dashboard
Action 7: Deployment of Zabbix plugins for monitoring
Action 8: Adding RAM on PSI
Action 9: Firmware Update
Action 10: Bonding heartbeat for high availability

## Slide 8: Loads and deadline of the project
Load of the project : 346 days + 10% of safety margin = 381 days
Deadline of the project : End of December 2022

## Slide 9: Division of task
Stakeholders | Actions
Fabien ZIMMER | Migration of mdadm to lvm Automation of service guard installation (ansible) Setting up service guard dashboard
Thibaut CACHE | Reboot script for better package management Deployment of zabbix plugin Firmware update Adding RAM for PSI
Francis FACHINAN | Quorum migration on Redhat8 Testing service guard compatibility on redhat8 Setting up bonding of heartbeat

## Slide 10: Fabien zimmer
Migration of MDADM to LVM

## Slide 11: Francis fachinan
Quorum migration on redhat8

## Slide 12: Thibaut Cache
Script reboot for package management
Plugin zabbix for monitoring
Adding RAM for PSI

## Slide 13: End of presentation Thank you for your attention